| Products Specifications | DT82E | DT80 | DT80G | DT85 | DT85G | DT800 |
| --- | --- | --- | --- | --- | --- | --- |
| Analog Inputs | Up to 6 | Up to 15 | Up to 15 | Up to 48 | Up to 48 | Up to 42 |
| Analog Input Expandable | – | Yes | Yes | Yes | Yes | – |
| Vibrating Wire Sensor Support | – | – | Yes | – | Yes | – |
| Analog Input Range (volts) | ±30 | ±30 | ±30 | ±30 | ±30 | ±10 |
| Max Samples Per Second (analog) | 25 | 25 | 25 | 25 | 25 | 200 |
| Digital & Counter Inputs | 8 | 12 | 12 | 12 | 12 | 16 |
| Serial Sensor Channel | – | 2 | 2 | 2 | 2 | 1 |
| Built-in Data Points Storage | 10 million | 10 million | 10 million | 10 million | 10 million | 130,000 expandable |
| Built-in Display | Yes | Yes | Yes | Yes | Yes | – |